CITY OF STEAMBOAT SPRINGS, COLORADO

ORDINANCE NO.  1723

AN ORDINANCE ADOPTING THE UNIFORM ADMINISTRATIVE CODE, 1997 EDITION, AND RELATED TECHNICAL CODES, ALL REGULATING THE ERECTION, CONSTRUCTION, ENLARGEMENT, ALTERATION, REPAIR, MOVING, REMOVAL, DEMOLITION, CONVERSION, OCCUPANCY, EQUIPMENT, USE, HEIGHT, AREA AND MAINTENANCE OF ALL BUILDINGS OR STRUCTURES, AND BUILDING SERVICE EQUIPMENT; PROVIDING FOR THE ISSUANCE OF PERMITS AND COLLECTION OF FEES THEREFORE; AND PROVIDING FOR PENALTIES FOR THE VIOLATION THEREOF; REPEALING ALL CONFLICTING ORDINANCES; PROVIDING FOR SEVERABILITY; AND PROVIDING AN EFFECTIVE DATE.

WHEREAS, the City of Steamboat Springs has previously adopted the 1994 Edition of the Uniform Administrative Code and all related technical codes; and

WHEREAS, the International Conference of Building Officials and similar bodies have updated and improved the Uniform Administrative Code and all related technical codes and published the updated codes as the 1997 Editions (with the exception that the most recent National Electrical Code is published as the 1999 Edition); and

WHEREAS, the Building Official has reviewed the new editions and recommends their adoption.

NOW, THEREFORE, BE IT ORDAINED BY THE CITY COUNCIL, OF THE CITY OF STEAMBOAT SPRINGS, COLORADO AS FOLLOWS:

ARTICLE 1

Section 5-2 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this Ordinance, Sec. 5-2 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec. 5-2 Uniform Administrative Code Adoption.

“Pursuant to authority conferred by Section 7.9 of the Charter, there is hereby adopted by the City, for the administration and enforcement of the technical codes adopted by the City that certain code known as the Uniform Administrative Code, 1997 Edition published by the International Conference of Building Officials, 5360 South Workman Mill Road, Whittier, California 90601.  The Code, and the whole thereof, is adopted by reference thereto the same as if set forth in length in this section”.

Section 5-3 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this Ordinance, Sec. 5-3 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec. 5-3. Uniform Administrative Code Amendments and Deletions.

The Uniform Administrative Code, 1997 Edition, is subject to the following deletions and amendments:

Section 103, is amended by modifying the definition of “Technical Codes” to read as follows:

“Technical Codes” shall mean the Uniform Building Code; Uniform Plumbing Code; International Plumbing Code; Uniform Mechanical Code; Uniform Solar Energy Code; Uniform Swimming Pool, Spa and Hot Tub Code; Uniform Code For The Abatement of Dangerous Buildings; Uniform Code For Building Conservation; and National Electrical Code as adopted by this jurisdiction containing the provisions for design, construction, alteration, addition, repair, removal, demolition, use, location, occupancy and maintenance of buildings and structures and building service equipment as herein defined.

Section 103, is amended by modifying the definition of “Building Service Equipment” to read as follows:

“Building Service Equipment” refers to the plumbing, mechanical, solar energy, swimming pool, electrical and elevator equipment including piping, wiring, fixtures and other accessories which provide sanitation, lighting, heating, ventilation, cooling, refrigeration, fire-fighting and transportation facilities essential to the use or occupancy of the building or structure.

Section 103, is amended by the addition of the following definitions:

“Code for Building Conservation” is the Uniform Code for Building Conservation promulgated by the International Conference of Building Officials, as adopted by this jurisdiction.

“Solar Energy Code” is the Uniform Solar Energy Code promulgated by the International Association of Plumbing and Mechanical Officials, as adopted by this jurisdiction.

“Swimming Pool, Spa and Hot Tub Code” is the Uniform Swimming Pool, Spa and Hot Tub Code promulgated by the International Association of Plumbing and Mechanical Officials, as adopted by this jurisdiction.

Section 301.2.5, is added to read as follows:

Solar permits. A solar permit shall not be required for the replacement of any component part of a solar system that does not alter its original approval and complies with other applicable requirements of the Solar Energy Code.

Section 301.2.6, is added to read as follows:

Pool, Spa and Hot Tub permits.  A pool, spa or hot tub permit shall not be required for the stopping of leaks in drains, soil, waste or vent pipe, provided, however, that should any trap, drainpipe, soil, waste or vent pipe be or become defective and it becomes necessary to remove and replace the same with new material in any part or parts, the same shall be considered as such new work and a permit shall be procured and inspection made as herein before provided.  No permit shall be required for the clearing of stoppages or the repairing of leaks in pipes, valves or fixtures, when such repairs do not involve or require the replacement or rearrangement of valves, pipes, or fixtures.

Section 304.3, is amended by the addition of the following paragraph:

Plan review fees for electrical, mechanical, plumbing, solar system and swimming pool work shall be equal to 25 percent of the total permit fee as set forth in Tables Nos. 3-B, 3-C, 3-D, 3-I, and 3-J except as hereinafter provided.  A separate plan review fee for the above mentioned construction work shall not be charged when such work is related to a building permit for which a plan review has been charged.

TABLE 3-A─BUILDING PERMIT FEES, is amended to read as follows:

| TOTAL VALUATION | FEE |
| --- | --- |
| $1.00 to $500.00 | $15.00 |
| $501.00 to $2,000.00 | $15.00 for the first $500.00 plus $2.00 for each additional $100.00 or fraction thereof, to and including $2,000.00 |
| $2,001.00 to $25,000.00 | $45.00 for the first $2,000.00 plus $9.00 for each additional $1,000.00 or fraction thereof, to and including $25,000.00 |
| $25,001.00 to $50,000.00 | $252.00 for the first $25,000.00 plus $6.50 for each additional $1,000.00 or fraction thereof, to and including $50,000.00 |
| $50,001.00 to $100,000.00 | $414.50 for the first $50,000.00 plus $4.50 for each additional $1,000.00 or fraction thereof, to and including $100,000.00 |
| $100,001.00 to $500,000.00 | $639.50 for the first $100,000.00 plus $3.50 for each additional $1,000.00 or fraction thereof, to and including $500,000.00 |
| $500,001.00 to $1,000,000.00 | $2,039.50 for the first $500,000.00 plus $3.00 for each additional $1,000.00 or fraction thereof, to and including $1,000,000.00 |
| $1,000,001.00 and up | $3,539.50 for the first $1,000,000.00 plus $2.00 for each additional $1,000.00 or fraction thereof. |
| Other Inspections and Fees: - Inspections outside of normal business hours $30.00 per hour* (minimum charge─two hours) - Reinspection fees assessed under provisions of Section 305.8 $30.00 per hour* - Inspections for which no fee is specifically indicated $30.00 per hour* (minimum charge─one-half hour) - Additional plan review required by changes, additions or revisions to plans $30.00 per hour* (minimum charge─one-half hour) - For use of outside consultants for plan checking and inspections, or both actual costs** |  |

*Or the total hourly cost to the jurisdiction, whichever is greatest.  This cost shall include supervision, overhead, equipment, hourly wages and fringe benefits of the employees involved.

**Actual costs include administrative and overhead costs.

TABLE 3-B─ELECTRICAL PERMIT FEES, is amended to read as follows:

1.	Residential Fees.  Construction and extensive remodeling (based on enclosed floor area) but not including extension to or minor remodeling of existing installations, which shall be governed by Item 2 (All Other Fees).

Floor Area:

Not more than 1,000 s.f.	$40.00

Over 1,000 s.f. and not more than 1,500 s.f	.$60.00

Over 1,500 s.f. and not more than 2,000 s.f.	$75.00

Per 100 s.f. in excess of 2,000 s.f.	$3.00

2.  All Other Fees.  All other fees, except for inspections in mobile home or travel trailer parks, shall be computed on the dollar value of the electrical installation, including electrical materials and items, and the total cost to the customer.

Valuation of Work:

Not more than $300	$35.00

More than $300 but not more than $2,000	$40.00

More than $2,000 but not more than $50,000	$16.00

(per thousand or fraction thereof total valuation)

More than $50,000 but not more than $500,000	$15.00

(per thousand or fraction thereof total valuation PLUS $50.00)

More than $500,000	$14.00

(per thousand or fraction thereof total valuation PLUS $550.00)

Mobile home rental parks and travel parks per space	$35.00

Other Inspections and Fees:

- Inspections outside of normal business hours, per hour	$30.00*
(minimum charge─two hours)

- Reinspection fees assessed under provisions of Section 305.8,
per inspection	$30.00*

- Inspections for which no fee is specifically indicated, per hour	$30.00*
(minimum charge─one-half hour)

- Additional plan review required by changes, additions or revisions
to plans for which an initial review has been completed, per hour	$30.00*
(minimum charge─one-half hour)

*Or the total hourly cost to the jurisdiction, whichever is greatest.  This cost shall include supervision, overhead, equipment, hourly wages and fringe benefits of the employees involved.

TABLE 3-C─MECHANICAL PERMIT FEES, is amended to read as follows:

Permit Issuance

- For the issuance of each mechanical permit	$15.00

- For issuing each supplemental permit for which the original permit
has not expired, been canceled or finaled	$4.50

Unit Fee Schedule

(Note:  The following do not include permit-issuing fee.)

1.	Furnaces

For the installation or relocation of each forced-air or gravity-type
furnace or burner, including ducts and vents attached to such
appliance, up to and including 100,000 Btu/h (29.3 kW)	$9.00

For the installation or relocation of each forced-air or gravity-type
furnace or burner, including ducts and vents attached to such
appliance over 100,000 Btu/h (29.3 kW)	$11.00

For the installation or relocation of each floor furnace,
including vent	$9.00

For the installation or relocation of each suspended heater, 
recessed wall heater or floor-mounted unit heater	$9.00

2.	Appliance Vents

For the installation, relocation or replacement of each appliance vent
installed and not included in an appliance permit	$4.50

3.	Repairs or Additions

For the repair of, alteration of, or addition to each heating appliance, 
refrigeration unit, cooling unit, absorption unit, or each heating, 
cooling, absorption or evaporative cooling system, including 
installation of controls regulated by the Mechanical Code	$9.00

4.	Boilers, Compressors and Absorption Systems

For the installation or relocation of each boiler or compressor to and 
including three horsepower (10.6 kW), or each absorption system
to and including 100,000 Btu/h (29.3 kW)	$9.00

For the installation or relocation of each boiler or compressor
over three horsepower (10.6 kW) to and including 15 horsepower
(52.7 kW), or each absorption system over 100,000 Btu/h 
(29.3 kW) to and including 500,000 Btu/h (146.6 kW)	$16.50

For the installation or relocation of each boiler or compressor over
15 horsepower (52.7 kW) to and including 30 horsepower (105.5 kW),
or each absorption system over 500,000 Btu/h (146.6 kW) to and including 1,000,000 Btu/h (293.1 kW)	$22.50

For the installation or relocation of each boiler or compressor over
30 horsepower (105.5 kW) to and including 50 horsepower (176 kW),
or each absorption system over 1,000,000 Btu/h (293.1 kW) to
and including 1,750,000 Btu/h (512.9 kW)	$33.50

For the installation or relocation of each boiler or compressor over 
50 horsepower (176 kW), or each absorption system over
1,750,000 Btu/h (512.9 kW)	$56.00

5.	Air Handlers

For each air-handling unit to and including 10,000 cubic feet per
minute (cfm) (4719 L/s), including ducts attached thereto	$6.50

(Note:  This fee does not apply to an air-handling unit which is a portion of a factory-assembled appliance, cooling unit, evaporative cooler or absorption unit for which a permit is required elsewhere in the Mechanical Code.)

For each air-handling unit over 10,000 cfm (4719 L/s)	$11.00

6.	Evaporative Coolers

For each evaporative cooler other than portable type	$6.50

7.	Ventilation and Exhaust

For each ventilation fan connected to a single duct	$4.50

For each ventilation system which is not a portion of any heating
or air-conditioning system authorized by a permit	$6.50

For the installation of each domestic-type hood which is served by
mechanical exhaust, including the ducts for such hood	$6.50

For the installation of each commercial or industrial-type hood 
which is served by mechanical exhaust, including the ducts for
such hood	$15.00

8.	Incinerators

For the installation or relocation of each domestic-type
incinerator	$11.00

For the installation or relocation of each commercial or industrial-

type incinerator	$45.00

9.	Miscellaneous

For each appliance or piece of equipment regulated by the Mechanical  Code but not classed in other appliance categories, or for which no
fee is listed in the table	$6.50

Other Inspections and Fees:

- Inspections outside of normal business hours, per hour	$30.00*
(minimum charge─two hours)

- Reinspection fees assessed under provisions of Section 305.8,
per inspection	$30.00*

- Inspections for which no fee is specifically indicated, per hour	$30.00*
(minimum charge─one-half hour)

- Additional plan review required by changes, additions or revisions
to plans for which an initial review has been completed, per hour	$30.00*
(minimum charge─one-half hour)

*Or the total hourly cost to the jurisdiction, whichever is greatest. This cost shall include supervision, overhead, equipment, hourly wages and fringe benefits of the employees involved.

TABLE 3-D─PLUMBING PERMIT FEES, is amended to read as follows:

Permit Issuance

- For issuing each plumbing permit	$15.00

- For issuing each supplemental permit for which the original permit
has not  expired, been canceled or finaled	$4.50

Unit Fee Schedule

(Note:   The following do not include permit-issuing fee)

- Fixtures and Vents
For each plumbing fixture or trap or set of fixtures on one trap (including 
water, drainage piping and backflow protection thereof)	$6.00
For repair or alteration of drainage or vent piping, each fixture	$3.00

- Disposal Systems and Interceptors
For each industrial waste pretreatment interceptor including its trap
and vent, excepting kitchen-type grease interceptors functioning
as fixture traps	$12.00
Rainwater systems—per drain (inside building)	$6.00

- Water Piping and Water heaters
For installation, alteration, or repair of water piping or water-treating

- equipment, or both, each	$3.00
For each water heater including vent	$7.50
For vents only, see Table 3-C

- Gas Piping Systems
For each gas piping system of one to four outlets	$3.00
For each additional outlet over four	$0.75

- Lawn Sprinklers, Vacuum Breakers and Backflow Protection Devices
For each lawn sprinkler system on any one meter, including backflow
protection devices therefore	$9.00
For atmospheric-type vacuum breakers or backflow protection devices not
included in Item 1:
	1 to 5 devices	$7.50
	over 5 devices, each	$1.50
For each backflow protection device other than atmospheric-type vacuum 
breakers:
	2 inches (50.8mm) and smaller	$7.50
	over 2 inches (50.8 mm)	$15.00

- Miscellaneous
For each appliance or piece of equipment regulated by the Plumbing
Code but not classed in other appliance categories, or for which
no other fee is listed in this  code	$7.50

Other Inspections and Fees:

- Inspections outside of normal business hours, per hour	$30.00*
(minimum charge─two hours)

- Reinspection fees assessed under provisions of Section 305.8,
per inspection	$30.00*

- Inspections for which no fee is specifically indicated, per hour	$30.00*
(minimum charge─one-half hour)

- Additional plan review required by changes, additions or revisions
to plans for which an initial review has been completed, per hour	$30.00*
(minimum charge─one-half hour)

*Or the total hourly cost to the jurisdiction, whichever is greatest.  This cost shall include supervision, overhead, equipment, hourly wages and fringe benefits of the employees involved.

TABLE 3-E─ELEVATOR PERMIT FEES, is amended to read as follows:

New Installations

- Passenger or freight elevator, escalator, moving walk
Up to and including $50,000.00 of valuation	$350.00
Over $50,000.00 of valuation	$350.00 plus $6.00 for
	each $1,000.00 or fraction thereof over $50,000.00

- Dumbwaiter or private residence elevator

- Up to and including $20,000.00 of valuation	$250.00

- Over $20,000.00 of valuation	 $250.00 plus $3.00 for
	each $1,000.00 or fraction thereof over $20,000.00

Major Alterations

Fees for major alterations shall be as set forth in Table 3-A. Installation fees include charges for equipment on the conveyance side of the disconnect switch.

Other Inspections and Fees:

- Inspections outside of normal business hours, per hour	$50.00*
(minimum charge─two hours)

- Reinspection fees assessed under provisions of Section 305.8,
per inspection	$50.00*

- Inspections for which no fee is specifically indicated, per hour	$50.00*
(minimum charge─one-half hour)

- Additional plan review required by changes, additions or revisions
to plans for which an initial review has been completed, per hour	$50.00*
(minimum charge─one-half hour)

*Or the total hourly cost to the jurisdiction, whichever is greatest. This cost shall include supervision, overhead, equipment, hourly wages and fringe benefits of the employees involved.

TABLE 3-F─ELEVATOR ANNUAL CERTIFICATES OF INSPECTION FEES, is amended to read as follows:

For each elevator	$180.00

For each escalator or moving walk	$180.00

For each commercial dumbwaiter	$75.00

For each platform lift	$75.00

(Note:  Each escalator or moving walk unit powered by one motor shall be considered as separate escalator or moving walk)

TABLE 3-G─GRADING PLAN REVIEW FEES, is amended to read as follows:

50 cubic yards (38.2 m3) or less	No Permit Required
51 to 100 cubic yards (40 to 76.5 m3)	$15.00
101 to 1000 cubic yards (77.2 to 764.6 m3)	$22.50
1,001 to 10,000 cubic yards (765.3 to 7645.5 m3)	$30.00
10,001 to 100,000 cubic yards (7646.3 to 76455 m3)	$30.00 for
	the first 10,000 cubic yards (7645.5 m3), plus $15.00 for each additional
	10,000 cubic yards (7645.5 m3) or fraction thereof.
100,001 to 200,000 cubic yards (76456 to 152911 m3)	$165.00 for
	the first 100,000 cubic yards (76455 m3), plus $9.00 for each additional
	10,000 cubic yards (7645.5 m3) or fraction thereof.
200,001 cubic yards (152912 m3) or more	$255.00 for the first
	200,000 cubic yards (152911 m3), plus $4.50 for each additional

10,000 cubic yards (7645.5 m3) or fraction thereof.

Other Fees:

Additional plan review required by changes, additions or revisions to

plans for which an initial review has been completed	$30.00*
(minimum charge─one-half hour)

*Or the total hourly cost to the jurisdiction, whichever is greatest.  This cost shall include supervision, overhead, equipment, hourly wages and fringe benefits of the employees involved.

TABLE 3-H─GRADING PERMIT FEES, is amended to read as follows:

50 cubic yards (38.2 m3) or less	$15.00
51 to 100 cubic yards (40 to 76.5 m3)	$22.50
101 to 1,000 cubic yards (77.2 to 764.6 m3)	$22.50 for the first
	100 cubic yards (76.5 m3), plus $10.50 for each additional  100 cubic
	yards (76.5 m3) or fraction thereof.
1,001 to 10,000 cubic yards (765.3 to 7645.5 m3)	$117.00 for the first
	1,000 cubic yards (764.6 m3), plus $9.00 for each additional 1,000 cubic
	yards  (764.6 m3) or fraction thereof.
10,001 to 100,000 cubic yards (7646.3 to 76455 m3)	$198.00 for 
	the first 10,000 cubic yards (7645.5 m3), plus $40.50 for each additional
	10,000 cubic yards (7645.5 m3) or fraction thereof.
100,001 to 200,000 cubic yards (76456 to 152911 m3)	$562.50 for
	the first 100,000 cubic yards (76455 m3), plus $22.50 for each additional
	10,000 cubic yards (7645.5 m3) or fraction thereof.

Other Inspections and Fees:

- Inspections outside of normal business hours, per hour	$30.00*
(minimum charge─two hours)

- Reinspection fees assessed under provisions of Section 305.8,
per inspection	$30.00*

- Inspections for which no fee is specifically indicated, per hour	$30.00*
(minimum charge─one-half hour)

- Additional plan review required by changes, additions or revisions
to plans for which an initial review has been completed, per hour	$30.00*
(minimum charge─one-half hour)

*Or the total hourly cost to the jurisdiction, whichever is greatest.  This cost shall include supervision, overhead, equipment, hourly wages and fringe benefits of the employees involved.

TABLE 3-I─SOLAR SYSTEM PERMIT FEES, is added to read as follows:

Permit Issuance

- For the issuance of each permit	$15.00

- For issuing each supplemental permit	$4.50

Unit Fee Schedule

(Note:   The following do not include permit-issuing fee)

1.	Collectors (including relating piping and regulation devices)

Up to 1,000 s.f.	$6.00
Between 1,001 and 2,000 s.f.	$10.00
More than 2,000 s.f	.$5.00 plus $1.00 per 1,000
	s.f. or fraction thereof over 2,000 s.f.

2.	Storage Tanks (including related piping and regulating devices)

Up to 750 gallons	$4.00
Between 751 and 2,000 gallons	$6.00
More than 2,000 gallons	 $3.00 plus $1.00 per 1,000 
	gallons or fraction thereof over 2,000 gallons

3.	Rock Storage

Up to 1,500 c.f.	$4.00
Between 1,501 and 3,000 c.f.	$6.00
More than 3,000 c.f., 	$3.00 plus $1.00 per 1,000 c.f. or 
	fraction thereof over 3,000 c.f.

4.	Miscellaneous

For each appliance or piece or equipment regulated by this code 
for which no fee is listed	$4.00

Other Inspections and Fees:

- Inspections outside of normal business hours, per hour	$30.00*
(minimum charge─two hours)

- Reinspection fees assessed under provisions of Section 305.8,
per inspection	$30.00*

- Inspections for which no fee is specifically indicated, per hour	$30.00*
(minimum charge─one-half hour)

- Additional plan review required by changes, additions or revisions
to plans for which an initial review has been completed, per hour	$30.00*
(minimum charge─one-half hour)

*Or the total hourly cost to the jurisdiction, whichever is greatest.  This cost shall include supervision, overhead, equipment, hourly wages and fringe benefits of the employees involved.

TABLE 3-J SWIMMING POOL, SPA AND HOT TUB PERMIT FEES, is added to read as follows:

Permit Issuance For Each Swimming Pool

Public pool	$30.00

Private pool	$20.00

Unit Fee Schedule

- Pool filling system including back-flow prevention, each	$6.00

- Each water heater and/or vent	$7.50

- Gas piping system, each	$3.00

- Replacing filter	$3.00

- Replacing of piping	$3.00

- Miscellaneous replacements	$3.00

- Backwash receptor	$2.00

Other Inspections and Fees:

- Inspections outside of normal business hours, per hour	$30.00*
(minimum charge─two hours)

- Reinspection fees assessed under provisions of Section 305.8,
per inspection	$30.00*

- Inspections for which no fee is specifically indicated, per hour	$30.00*
(minimum charge─one-half hour)

- Additional plan review required by changes, additions or revisions
to plans for which an initial review has been completed, per hour	$30.00*
(minimum charge─one-half hour)

*Or the total hourly cost to the jurisdiction, whichever is greatest.  This cost shall include supervision, overhead, equipment, hourly wages and fringe benefits of the employees involved.

Section 5-4 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this Ordinance, Sec. 5-4 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec. 5-4. Uniform Building Code Adoption.

“Pursuant to authority conferred by Section 7.9 of the Charter, there is hereby adopted by the City, for the purpose of providing minimum standards to safeguard life or limb, health, property, and public welfare by regulating and controlling the design, construction, quality of materials, use and occupancy, location and maintenance of all buildings and structures within the City, that certain code know as the Uniform Building Code, Volumes 1, 2 and 3, 1997 Edition, including Appendix Chapters 3, Division II; 11, Division I; 11, Division II: 15; 18; 30; and 33, Volume 2 Appendix Chapter 16, Division 1, published by the International Conference of Building Officials, 5360 South Workman Mill Road, Whittier, California 90601.  The Code, and the whole thereof, is adopted by reference thereto the same as if set forth in length in this section”.

Section 5-5 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this Ordinance, Sec. 5-5 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec. 5-5. Uniform Building Code Amendments and Deletions.

The Uniform Building Code, Volumes 1, 2 and 3, 1997 Edition, is subject to the following amendments and deletions:

Sections 103 - 109 - delete

Section 221, “Definitions” is amended by the addition of a new definition to read as follows:

TOWNHOUSE: two or more dwelling units, which meet the following criteria:

- Each unit is separated from adjoining units by a ground to roof wall or walls,

- No units are constructed with enclosed usable space above or below another unit,

- Each unit has separate utilities, and

- Units are separated by interior property lines between units.

Section 310.3,  “Location on Property” is amended to read as follows:

Townhouses may be constructed to meet the requirements of either an R-3 Occupancy or an R-1 Occupancy. Townhouses constructed as an R-3 Occupancy shall have walls adjacent to the interior property lines constructed in compliance with all code provisions which apply to exterior walls.

Section 312.2.1, is amended to read as follows:

Building or parts of buildings classified as Group U, Division I Occupancies because of the use or character of the occupancy shall not exceed 1,000 square feet in area or two (2) stories in height except as provided in Section 312.2.2. Any building or portion thereof that exceeds the limitations specified in this chapter shall be classed in the occupancy group other than Group U, Division 1 that it most nearly resembles.

Section 504.6, is amended by the addition of the following paragraph:

Area separation walls shall be of concrete or masonry construction only.

Section 1003.3.3.2, the first paragraph is amended to read as follows:

The minimum stairway width shall be determined as specified in Section 1003.2.3, but shall be not less than 48 inches (1219 mm) except as specified herein.  Stairways serving one individual dwelling unit in Group R, Division 1, or serving Group R, Division 3 or Group U Occupancies may be 36 inches in width.

Section 1003.3.3.3, is amended by the addition of an Exception No. 3, to read as follows:

In Group R, Division 3 and Group U Occupancies, an interior fire escape stairway may serve as an exit from an area not to exceed 200 square feet. The pitch of the stairway shall not exceed 60 degrees with a minimum width of 24 inches. Treads shall be not less than 4 inches in width and the rise between treads shall not exceed 10 inches. An approved handrail shall be provided on each side.

Section 1003.3.3.6, the second paragraph is amended to read as follows:

The top of handrails and handrail extensions shall be placed not less than 34 inches (864 mm) or more than 38 inches (965 mm) above the nosing of the treads and landings.  Handrails shall be continuous the full length of the stairs and, except for private stairways, at least one handrail shall extend in the direction of the stair run not less than 6 inches (152 mm) beyond the top riser or less than 6 inches beyond the bottom riser.  Ends shall be returned or shall terminate in newel posts or safety terminals.

Section 1101.3, is amended by the addition of an Exception No. 2, to read as follows:

The design and construction of accessible elements for Group R, Division 1 apartment houses may be in accordance with the U.S. Department of Housing and Urban Development (HUD) Fair Housing Accessibility Guidelines.

Section 1103.2.2, the first paragraph is amended to read as follows:

When a building, or portion of a building, is required to be accessible an accessible route that can be negotiated by a person using a wheelchair shall be provided to all portions of the building, to accessible building entrances, connecting accessible pedestrian walkways and the public way.

Section 1103.2.2, the exception to the first paragraph is amended to read as follows:

Elevators or ramps are not required in buildings that are less than three (3) stories, including occupied basements, or that have less than 3,000 square feet per story unless the building is a multi-tenant Group M retail and wholesale occupancy, the office of a professional heath-care provider, or an airport or transportation facility. This exception, exempting elevator or ramp service does not obviate or limit the obligation to comply with all other accessibility requirements required by this chapter. For example, floors above or below the accessible ground floor must meet the requirements of this chapter except for elevator or ramp service. If toilet or bathing facilities are provided on a level not served by an elevator or ramp, then toilet or bathing facilities must be provided on the accessible ground floor.

Section 1103.2.2, the second paragraph is amended to read as follows:

Accessible floor levels may be connected by an interior or exterior accessible route of travel.  When  accessible floor levels are connected by an interior path of travel, an interior accessible route between the levels shall be provided. Interior and exterior stairs connecting accessible floor levels that are not connected by an elevator, ramp or other accessible means of vertical access shall comply with Section 4.9 of CABO/ANSI A117.1.  When only one accessible route is provided it shall not pass through kitchens, storage rooms, toilet rooms, bathrooms, closets or similar spaces.  (Note: The exception to this paragraph shall remain the same.)

Section 1806.1, the first paragraph is amended to read as follows:

Footings and foundations shall be constructed of masonry, concrete or treated wood in conformance with Division II.  Footings and foundations shall extend below the frost line unless otherwise approved by the Building Official.  Footings of concrete and masonry shall be of solid material.  Foundations supporting wood shall extend at least 6 inches (152 mm) above the adjacent finish grade.  Footings shall have a minimum depth of 4 feet unless another depth is recommended by a soil investigation report or otherwise approved by the Building Official.

Section 1806.3, is amended to read as follows:

Bearing walls shall be supported on masonry, concrete, treated wood foundations, piles or other approved foundation systems which shall be of sufficient size to support all loads.  (Note:  Exceptions No. 1 and 2, to this section, shall remain the same.)

Section 3003.5, the first paragraph is amended to read as follows:

In all structures four or more stories in height at least one elevator shall be provided with a minimum clear distance between walls or between walls and door, excluding return panels, not less than 80 inches by 54 inches (2032 mm by 1372mm) and a minimum distance from wall to return panel of not less than 51 inches (1295 mm) with a 42-inch (1067 mm) side slide door, unless otherwise designed to accommodate an ambulance-type stretcher 80 inches by 24 inches (2032 mm by 610 mm) in the horizontal position.

Appendix Section 3010, is amended to read as follows:

For the purpose of this appendix certain terms are defined as follows:

ANSI CODE is the ANSI/ASME A17.1─1990 Safety Code for Elevators and Escalators, an American National Standard, published by the American Society of Mechanical Engineers.

Appendix Section 3011.5 - delete

Appendix Section 3012, is amended to read as follows:

All new elevators, dumbwaiters, escalators, moving walks and major alterations to such conveyances and the installation thereof shall conform to the requirements of the American National Standard Institute ANSI/ASME A17.1─1990 Safety Code for Elevators and Escalators, published by the American Society of Mechanical Engineers.

Appendix Section 3310.2, is amended to read as follows:

When a plan or other data required to be submitted, a plan review fee shall be paid at the time of submitting plans and specifications for review.  Said plan review fee shall be as set forth in Table 3-G of “The Uniform Administrative Code” as adopted.  Separate plan review fees shall apply to retaining walls or major drainage structures as required elsewhere in this Code.  For excavation and fill on the same site, the fee shall be based on the volume of excavation or fill, whichever is greater.

Appendix Section 3310.3, is amended to read as follows:

When a plan or other data is required to be submitted, a grading permit fee shall be paid at the time of submitting plans and specifications for review.  Said grading permit fee shall be as set forth in Table 3-H of “The Uniform Administrative Code” as adopted.  Separate plan review fees shall apply to retaining walls or major drainage structures as required elsewhere in this Code.  For excavation and fill on the same site, the fee shall be based on the volume of excavation or fill, whichever is greater.

Chapter 36, is added to read as follows:

Chapter 36

CONSTRUCTION SITE MANAGEMENT

Section 3601  Purpose, Application and Scope.  The requirements set forth in this chapter shall apply to the management and maintenance of all construction sites during construction.

Section 3602  Construction Access.  Access to construction sites shall not adversely affect existing traffic patterns or access to adjacent properties.  Construction access shall be limited to the approved access shown on the development permit.  Construction access shall be installed in accordance with the road base standards of the City of Steamboat Springs.  An approved road base surface shall be applied to areas where construction vehicles or heavy equipment must repeatedly pass or where emergency access lanes must be maintained.  The road base shall be installed at the onset of construction.  The Fire Marshal may require installation of a special road base for emergency access.

Section 3603─Drainage.  Major drainage patterns shall not be interrupted or diverted in a way that would adversely affect the site or surrounding area.  The following guidelines shall apply:

- Temporary diversion should be of adequate capacity to control a 20-year flood.

- Drainage water shall be disposed of in a manner to prevent flooding, erosion or other damage to any portion of the site or adjoining areas.

Section 3604  Grading.  Massive overlot grading is discouraged.  All major grading shall be completed and disturbed areas must be revegatated in the first development phase. Major retaining walls must also be completed in the first development phase to preserve the site.  Should work during any development phase be discontinued for a period of ninety (90) days or longer, retaining walls and revegetation for the area worked shall be completed before discontinuance.

Section 3605  Storage.  Construction sites within the resort land use classification must construct a fence to mitigate the visual impact of storage and construction.

Fences shall extend the entire perimeter of the building site and each end shall be returned to the building line. Openings in such fences shall be protected by doors which normally are kept closed.  All fences shall be provided with two-inch by four-inch plates, top and bottom, and shall be well braced. The fence material shall be a minimum of 1/4-inch plywood.  Plywood fences shall conform to the following requirements:

- Plywood panels shall be bonded with an adhesive identical to those for exterior plywood.

- Plywood 1/4 inch or 5/16 inch in thickness shall have studs spaced not more than 2 feet on center.

- Plywood 3/8 inch or 1/2 inch in thickness shall have studs spaced not more than 4 feet on center, provided a 2-inch by 4-inch stiffener is placed horizontally at the midheight when the stud spacing exceeds 2 feet on center.

- Plywood 5/8 inch or thicker shall not span over 8 feet.

- Painting or staining of the fence shall be required in a color scheme acceptable to the Department of Community Development.

Section 3606  Pedestrian Protection. Protection of pedestrians during construction or demolition shall be provided as required by Section 3303.

Section 3607  Environmental Controls. The following environmental controls shall be provided and maintained during construction:

- Dust control materials shall be applied to minimize raising dust from construction operations, and provide positive means to prevent airborne dust from dispersing into the atmosphere.

- Areas under the contractor’s control shall be free of extraneous debris. A specific program to prevent accumulation of debris at the construction site, storage and parking areas or along access roads and haul routes shall be developed.  Failure to ensure the maintenance of debris may result in the issuance of a stop work order. Trash receptacles shall be provided on site.

- The contamination of soil, water or atmosphere by discharge of noxious substances from effluents, chemicals or other such substances adjacent to streams or in sanitary or storm sewers shall be prevented.  Contaminated earth shall be disposed of offsite and replaced with suitable compacted fill and topsoil.

- Mud, Dirt and Ice in the streets and/or alleys.

4.1	At all times during construction, the streets and/or alleys and/or public rights-of-way shall be kept in a safe and clean manner. Mud, dirt, sand, concrete, and building debris shall not be allowed to accumulate.  A means shall be provided to comply with provisions of all ordinances and prevent mud, dirt, sand, concrete, building debris, gravel, snow, ice or other debris from being tracked onto any public street, public right-of-way  and any other public property.  The owner, building permit holder or any agent thereof, shall be responsible for the immediate removal and or cleaning of any mud, dirt, sand, concrete, building debris, gravel, snow, ice or other debris tracked onto or left on any public street, public right-of-way and any other public property adjacent to such construction site.  Failure to comply with this Section shall be considered a Code violation and shall be processed in accordance with Section 1-15 of the Steamboat Springs Revised Municipal Code, and as it may from time to time be amended.

4.2	Civil liability imposed.  In the event the owner, building permit holder or any agent thereof fails to comply with the terms of this subsection (4) or otherwise permits a public street, public right-of-way or other public property adjacent to their construction to become littered with mud, dirt, sand, concrete, building debris, gravel, snow, ice or other debris, the owner, building permit holder or agent thereof shall be liable for any resulting injuries.  Any civil liability for injuries caused by the condition of the public street, public right-of-way or other public property or the failure to comply with this subsection (4) shall be imposed solely upon the owner, building permit holder or any agent thereof, and not upon the City.

4.3	If the city manager, or his authorized representative, determines a violation of this subsection (4) constitutes an emergency presenting immediate danger of serious injury to persons or property, the city manager may proceed in accordance with Section 15-4 of the Steamboat Springs Revised Municipal Code regarding nuisances and it may from time to time be amended.

5.	Trees and plants shall be protected as follows:

5.1	Existing trees and plants which are designated to remain shall be protected by temporary barriers to height of 6 feet around each, or around each group of trees and plants.

5.2	Root zones of trees and plants shall be protected from vehicular traffic,  parking, stored materials, and dumping of refuse or chemically injurious materials or liquids.

5.3	Excavating, grading and filling and subsequent construction operations shall be supervised to prevent damage.

5.4	Trees designated to remain which are damaged or destroyed due to construction operations shall be replaced or repaired.

Section 3608  Temporary Construction Facilities.  Temporary utilities required for construction shall be installed and removed on completion of work.  Materials may be new or used but must be adequate in capacity for required usage, must not create unsafe conditions and must not violate requirements of applicable codes and standards.

Adequate sanitary facilities for the convenience of all workmen shall be provided. These facilities shall be kept in a clean and sanitary condition throughout the duration of the work. The temporary facility shall be enclosed, screened and weatherproofed. If connected to a sewer, upon removal of the temporary facilities, the sewer connection shall be removed and the sewer capped.  In lieu of connecting to a sewer, the temporary facility may be a portable, enclosed, chemically treated, tank-tight unit. Temporary facilities for use by workmen during building construction shall consist of at least one water closet or chemical toilet and one urinal for each thirty (30) workmen.

Temporary field offices may be new or used but must not violate the provisions of applicable codes and standards.  Permanent facilities shall not be used for field offices or storage unless approved in accordance with the Municipal Code.

Section 3609  Construction Site Cleanup.  Periodic cleaning shall be done to keep the site and adjacent properties free from accumulations of waste materials and windblown debris.

Upon completion of the project or any phase of a project, temporary materials, equipment, facilities and services shall be removed.  This shall occur no later than ten (10) days after issuance of the Certificate of Occupancy.  Damage caused by installation or use of temporary facilities shall be repaired as follows:

- Foundations and underground installations for construction facilities shall be removed.

- Areas of the site affected by temporary installations shall be filled and graded to required elevations and slopes.

Section 3610  Construction Site Management Plan.   A Construction Site Management Plan shall be submitted with the building permit application, and shall contain the following:

- Topographic information.

- Location of trailers, field offices and sanitary facilities.

- Proposed temporary or construction access, type of surface and extent of area to be improved.

- Location of fire lane and emergency services access.

- Extent of fencing or pedestrian protection measures, if applicable.

- Extent of surface area which will be disturbed.

- Erosion control plan including diversion structures, check dams or other measures.

- Location of storage areas and type of material to be stored.

- Location of existing trees and plants that will be retained.

If the project will be developed in phases, a phasing plan must address the timing of each phase, grading, revegetation and storage.  A written text may also be submitted to address the items outlined in this section which cannot be shown in graphic form.

Chapter 37, is added to read as follows:

Chapter 37

FLOODPLAIN CONSTRUCTION STANDARDS

Section 3701  Purpose, Application and Scope. The provisions of this chapter are intended to promote public safety and welfare by reducing the risk of flood damage in the regulatory floodplain.  All buildings and structures erected in the regulatory floodplain shall conform to the requirements set forth in this chapter.

Section 3702  Definitions.  For the purpose of this chapter, certain terms are defined as follows:

BASE FLOOD ELEVATION is the crest elevation in relation to mean sea level (using National Geodetic Vertical Datum) expected to be reached during a flood which encompasses the regulatory floodplain.

BREAKAWAY WALLS are any type of walls, using approved materials, which are not part of the structural support of the building and which are so designed as to break away without damage to the structural integrity of the building or structure on which they are used.

FLOODPLAIN is land which will be inundated by floods known to have occurred or reasonably characteristic of what can be expected to occur from the overflow of inland waters and the accumulation of runoff of surface waters from snowmelt or rainfall.

FLOODPROOFING is structural changes or adjustments incorporated in the design or construction of a building so as to make the building watertight with walls substantially impermeable to the passage of water and with structural components having the capacity of resisting hydrostatic and hydrodynamic loads and effects of buoyancy for the reduction or elimination of flood damages.

HIGH HAZARD AREA is an area within the regulatory floodplain which is subject to high-velocity waters.

MSL is mean sea level.

REGULATORY FLOODPLAIN is the area of the flood plain identified on the official floodplain map in Section 9-5 of the Steamboat Springs Revised Municipal Code along with the water surface profile of the base flood elevation.  (Note:  The base flood elevation profile and regulatory floodplain is normally the 100-year frequency flood.)

Section 3703  Elevation Standards.

1.	The lowest floor, including basement, shall be located at least one (1) foot above the base flood elevation in the following buildings:

1.1	Group R Occupancies, including manufactured homes.

1.2	All other occupancy groups, as identified in Chapter 3, except that a building in this category need not meet this requirement if the building and its utility and sanitary facilities are flood-proofed to or above the base flood elevation in accordance with approved floodproofing methods.

2.	In high hazard areas the lowest portion of structural members of the lowest floor (excluding columns, freestanding pilings and diagonal bracing attached to pilings) of all construction shall be located at least one (1) foot above the base flood elevation.

Section 3704  Anchoring Standards.

- Structural systems of buildings and structures shall be constructed, connected and anchored by approved methods to prevent floatation, collapse or permanent lateral dislocation of the structure.

- In high hazard areas all construction shall be supported by anchored pilings, columns or other approved methods providing equivalent stability and shall be anchored in an approved manner.  The Building Official may require plans, signed by a registered engineer or architect, to be submitted on the anchoring and support system documenting its ability to withstand the water velocity and wave wash associated with the regulatory flood.

- Buildings and structures shall not be supported by fill material.

- Manufactured homes─see Chapter 38 for tiedowns and anchoring standards.

Section 3705  Construction and Materials.

1.	All construction and building service equipment located below the base flood elevation shall be protected by approved materials constructed to resist flood damage.

2.	Nonresidential construction, other than in high hazard areas, located below the base flood elevation in accordance with Section M-3.0(a)2 shall meet the following standards:

2.1	Floodproofing shall comply with classification standards FP1 and FP2, contained in the U.S. Army Corps of Engineers “Flood-Proofing Regulations”, dated June 1972, or other approved methods; and

2.2	A registered professional engineer shall certify that the floodproofing has been designed to withstand the flood depths, pressure, velocities and the impact of uplift forces associated with the regulatory flood at the location of the building.

3.	In high hazard areas breakaway walls are permitted below the base flood elevation provided:

3.1	Such walls are constructed with approved materials.

3.2	Such walls are not a part of the structural support of the building.

3.3	Such walls are designed so as to break away without damage to the structural integrity of the building on which they are to be used.

3.4	Such enclosed space shall not be designed for human habitation.

Section 3706  Records and Certifications.

- The building permit shall include the required elevation (MSL) and actual elevation (MSL) of the lowest floor (including basement).  The required elevation (MSL) shall be provided to the contractor or builder upon issuance of the permit.  The actual elevation shall be obtained from the contractor or builder at the time of inspection of the flooring and prior to further vertical construction.  The Floodplain Administrator may require the actual elevation be certified by a registered professional engineer, land surveyor or architect.

- The certifications required for floodproofing or structural support anchoring shall be attached to the master building permit copy.

- All elevation, floodproofing and structural support anchoring certifications shall be permanently maintained by the Floodplain Administrator.

Chapter 38, is added to read as follows:

Chapter 38

MANUFACTURED HOME TIEDOWNS AND ANCHORING

Section 3801  Purpose, Application and Scope.  The requirements set forth in this chapter shall apply specifically to new or replacement manufactured homes within the regulatory floodplain.

Section 3802  Definitions.

DIAGONAL TIE is any tiedown designed to resist horizontal or shear forces and which deviates not less than thirty (30) degrees from a vertical direction.

GROUND ANCHOR is any device at the manufactured home stand designed for the purpose of securing a mobile home to the ground.

MANUFACTURED HOME is a structure, transportable in single or multiple sections, which is eight (8) body feet or more in width and is thirty-two (32) body feet or more in length, and which is built on a permanent chassis and designed to be used as a dwelling with or without permanent foundation when connected to the required utilities and includes plumbing, heating, air conditioning and electrical systems contained therein.

TIEDOWN is any device designed for the purpose of anchoring a manufactured home to ground anchors.

Section 3803  Required Anchorage and Support Piers.

- Manufactured homes require two types of anchorage as follows:

1.1	Over-the-top tiedowns to restrict overturning.

1.2	Frame tiedowns to restrict the unit from being pushed from its piers.

(Note:  Items 1.1 and 1.2 shall apply to all single-section manufactured homes.  Multiple-section manufactured homes require only frame tiedowns as specified in Item 1.2)

2.	Manufactured homes require load-bearing support piers or devices which shall be designed and constructed to evenly distribute the loads.  Support piers or devices shall be securely attached to the frame of the manufactured home and shall extend at least 6 inches from the centerline of the frame member.  Manufactured load-bearing support devices shall be listed and approved for the use intended or support piers shall be constructed as follows:

2.1	Piers less than 40 inches in height shall be constructed of open or closed cell, 8-inch by 16-inch concrete blocks (with open cells vertically placed on the footer).  Single stacked block piers shall be installed with the 16 inch dimension perpendicular to the main beam (I-beam) frame. The piers shall be covered with a 2-inch by 8-inch by 16-inch wood or a concrete cap.

2.2	Piers between 40 inches and 80 inches in height and all corner piers over three (3) blocks high shall be double blocked with blocks interlocked and capped with a 4-inch by 16-inch solid concrete block, or equivalent.

- Piers over 80 inches in height shall be constructed in accordance with subsection 2 above, and they shall be laid in concrete mortar and steel reinforcing bars inserted in block cells with the block cells filled with concrete.

- All piers shall be placed on reinforced footings of solid concrete not less than 8 inches in depth by 16-inches square.

Section 3804 Tiedowns.  Manufactured homes with provisions for installation of anchor systems, including instructions, in accordance with Federal Manufactured Home Construction Safety Standards, Section 280.306, shall be installed in accordance with the manufacturer’s instructions. Mobile homes not provided with instructions for the flood zone in which they are being installed shall comply with the following specifications:

1.	Single-section manufactured homes:

Length of manufactured home:

Up to	41 feet	61	feet

40 feet	to	to

60 feet	82 feet

___________________________________________________________________________________________________________________________

Diagonal ties per side 	3	5	6

Over-the-roof-ties	2	3	3

Minimum No. of anchors per home	6	10	12

2.	Multiple-section manufactured homes shall have diagonal ties and anchors as required above for single-section manufactured homes.  No over-the-roof ties shall be required.

3.	Alternate systems. These specifications are minimum standards. Other anchor systems may be approved by the Building Official provided that such designs are prepared by a registered professional engineer or architect based on the criteria set forth in Federal Manufactured Home Construction and Safety Standards, Section 280.306.

Section 3805  Tiedown Spacing and Size.  Tiedowns shall be provided in conformance with the following:

- Over-the-top tiedowns shall be positioned at stud and rafter locations near each end of the manufactured home.

- Whenever feasible, over-the-top tiedowns and frame ties directly beneath them may use the same anchors.

- Cable or strapping or other approved methods or materials shall be used for ties.  All ties shall be fastened to ground anchors and drawn tight with turnbuckles, yoke-type fasteners or other such tensioning devices listed with the ground anchor.

- Cable shall be either 7/32-inch diameter or greater (7 by 7) steel cable or 1/4-inch diameter or greater (7 by 19) aircraft cable.  All cable ends shall be secured with at least two (2) U-bolt type cable clamps or other fastening device as approved by the enforcing officials.

- Tie materials shall be capable of resisting an allowable working load of three thousand one hundred fifty (3,150) pounds with no more than two (2) percent elongation and shall withstand a fifty (50%) percent overload (4,725 pounds total). Tiedowns exposed to weathering shall be resistant to weathering deterioration at least equivalent to that provided by a coating of zinc on steel of not less than 0.30 ounces per square foot of surface coated.

- Materials used for ties must terminate with D-ring bolts or other fastening devices that will not cause distortion of the band or reduce its breaking strength (4,725 pounds).

- Connection of the cable frame tie to the I-beam (or other shape) main structural frame member should be by a 5/8-inch drop-forged closed eye bolted through a hole drilled in the center of the I-beam web.  A washer, or equivalent, shall be used so the beam is sufficiently reinforced around the hole.  If steel-strap ties are used, care should be exercised to insure that minimum bending radius is adhered to so that the breaking strength of the strap is not reduced.

- Frame ties shall connect the ground anchor and the steel I-beam (or other shape) main structural frame member which runs lengthwise under the mobile home.  Frame ties shall never be connected to any of the steel outrigger beams which fasten to and intersect the main I-beam at right angles.

- Ground anchors should be aligned with the center of piers. Also, they should be situated immediately below the outer wall to accommodate over-the top ties as well as frame ties.

Section 3806  Ground Anchors.  Ground anchors shall be a manufactured anchoring device, or custom designed anchoring system.  Ground anchor design and testing shall be as follows:

- Manufactured anchors intended for general use; a drawing shall be filed with the agency having jurisdiction over manufactured homes for each model anchor submitted for approval.  Each drawing shall show model identification, pertinent details of construction, method of installation and method of securing connections to the tiedown cable or strap.  The following information shall accompany manufactured anchors:

1.1	The anchor manufacturer shall furnish to each and every user complete installation instructions, the types or classes of soils or rocks in which the anchor may be used, and the amount of preload to be applied.

1.2	The model number shall be permanently marked on the exposed portion of each anchor so that it is visible after installation.  If the model number is stamped into the metal, it shall be done prior to galvanizing, electro-plating or application of other corrosion-protective coating.

2.	Custom designed anchors for use in specific locations such as a particular manufactured home park, individual manufactured home site or manufactured home subdivision shall be as follows:

2.1	Plans and specifications shall be filed with the Building Official showing the anchor design in sufficient detail to allow proper construction and installation of the anchor (such as shop or construction drawings).  It shall bear the seal and signature of the registered engineer who designed the anchors, tiedown system and blocking.

2.2	The plans and specifications shall show the design working load and design ultimate load of the anchor and the number of anchors required for various sizes of manufactured homes.  It shall show the method of attaching the anchors to manufactured homes and the design working and ultimate load of attaching devices. Methods of blocking shall be shown.

2.3	One prototype anchor shall be tested at the location where the design is intended to be installed in accordance with the Standard Method of Test for Manufactured Home Anchors, Part A.  In lieu of a written report on this test, attend and observe the test.

2.4	Design ultimate load is the ultimate load when tested in accordance with the Standard Method of Test for Manufactured Home Anchors, Part B.

3.	Ground anchors shall be tested for strength and effectiveness. Testing shall be done by a registered professional engineer or recognized independent engineering testing laboratory.  Test approvals shall be filed with the Building Official.  Each type and model of manufactured anchor, and each custom anchor design shall be tested as follows:

3.1	The connection device (with strap, cable, rope, chain, etc., properly assembled) shall be tested in axial tension of failure when assembled exactly as it will be installed. The purpose of this test is to determine the ultimate strength of the connection at the manufactured home and at the anchor head as well as the connector (strap, cable, rope, chain, etc.).  Testing shall be in accordance with ASTM A-370.  Failure shall not occur at a load of less than four thousand seven hundred twenty-five (4,725) pounds (2,155 kilograms) for manufactured anchors or less than the design ultimate load set forth on the construction drawings for custom designed types.

3.2	The anchor shall be tested to structural failure in accordance with the  Standard Method of Test for Manufactured Home Anchors, Part B.  Failure shall not occur at a load of less than seven thousand one hundred twenty-five (7,125) pounds (3,230 kilograms) for manufactured anchors or less than the design ultimate load as set forth on the drawings for custom designed types.  The anchors shall be tested in accordance with the Standard Method of Test for Manufactured Home Anchors, Part A. Three (3) pullout tests shall be conducted for each model of manufactured anchor and one pullout test for each custom designed type in each class of soil or rock for which they are intended to be used.  The recognized soil classes are:

Types of Soils	Blow Count	Test Probe (1)

(ASTM D-1586)	Torque value (2)

Sound hard rock	N/A	N/A

Very dense and/or cemented	40 and up	More than 550

sands, course gravel and 		lbs./inch

preloaded silts, clays and

corals

Medium-dense coarse sands,	24-39	350-549

sandy gravels, very stiff silts		lbs./inch

and clays.

Loose to medium dense 	14-23 (3)	200-349

sands, firm to stiff clays and 		lbs./inch

silts, alluvial fill

Notes:

(1)	The test probe is a device for measuring the torque value of soils to assist in evaluating the holding capability of the soils in which the anchor is placed.  The test probe has a helix on it.  The overall length of the helical section is 10.75 inches; the major diameter is 1.25 inches; the minor diameter is 0.81 inches, the pitch is 1.75 inches. The shaft must be of suitable length for anchor depth.

(2)	A measure synonymous with moment of a force when distributed around the shaft of the test probe.

(3)	Below these values, a professional engineer should be consulted.

(4)	Classifications shall be in accordance with ASTM D-2487 and the above classes refer to the stratum in which the helix or plate is located for manufactured anchors. Penetration resistance is defined and to be determined in accordance with ASTM D-1586 and pertains to the soil stratum in which the helix or plate is located for manufactured anchors.  The test load shall be applied at an angle of forty-five (45) degrees from a true vertical.  In addition, the 45-degree angle load application shall be oriented to the anchor in the same manner as the connecting strap, cable, etc., will be connected to the mobile home during installation.  All three (3) tests shall demonstrate: (1) a maximum of three (3) inches of deflection at a load of three thousand one hundred fifty (3,150) pounds (1,450 kilograms); and (2) the ultimate load shall be equal to or greater than four thousand seven hundred twenty-five (4,725) pounds (2,155 kilograms).  Deflection shall be measured ninety (90) degrees from a true vertical in the same direction as the applied load.

Section 5-6 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this Ordinance, Sec. 5-6 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec. 5-4. Uniform Code for Building Conservation Adoption

“Pursuant to authority conferred by Section 7.9 of the Charter, there is hereby adopted by the City, for the purpose of providing minimum life safety requirements for all existing buildings within the City that undergo alteration or a change in use, that certain code know as the Uniform Code for Building Conservation, 1997 Edition, including Appendix Chapter 3, published by the International Conference of Building Officials, 5360 South Workman Mill Road, Whittier, California 90601.  The Code, and the whole thereof, is adopted by reference thereto the same as if set forth in length in this section”.

Section 5-7 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this Ordinance, Sec. 5-7 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec. 5-7. Uniform Code for Building Conservation Amendments and Deletions.

The Uniform Code for Building Conservation, 1997 Edition, is subject to the following amendments and deletions:

Section 104, entitled “Nonconforming Rights” is re-titled and amended to read as follows:

Administration and Enforcement.  Administration and enforcement of this code shall be governed by the provisions of The Uniform Administrative Code as adopted.

Sections 105 -110 - delete

Chapter 2 - delete

Section 5-8 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this Ordinance, Sec. 5-8 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec. 5-8.  Uniform Code for the Abatement of Dangerous Buildings Adoption.

“Pursuant to authority conferred by Section 7.9 of the Charter, there is hereby adopted by the City, for the purpose of providing a just, equitable and practicable method, to be cumulative with and in addition to any other remedy available by law whereby buildings or structures in the City which from any cause endanger the life, limb, health, property, safety or welfare of the general public or their occupants may be required to be repaired, vacated or demolished, that certain code known as the Uniform Code for the Abatement of Dangerous Buildings, 1997 Edition, published by the International Conference of Building Officials, 5360 South Workman Mill Road, Whittier, California 90601.  The Code, and the whole thereof, is adopted by reference thereto the same as if set forth in length in this section”.

Section 5-9 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this Ordinance, Sec. 5-9 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec. 5-9. Uniform Code for the Abatement of Dangerous Buildings Amendments and Deletions.

The Uniform Code for the Abatement of Dangerous Buildings, 1997 Edition, is subject to the following amendments and deletions:

Section 103, is amended to read as follows:

All buildings or structures which are required to be repaired under the provisions of this code shall be subject to the provisions of Section 102.1 and 102.2 of The Uniform Administrative Code.

Section 104, entitled Administration and Enforcement is added to read as follows:

Administration and enforcement of this code shall be governed by the provisions of The Uniform Administrative Code as adopted.

Chapter 2 - delete

Section 5-10 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this Ordinance, Sec. 5-10 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec. 5-10.  Uniform Solar Energy Code Adoption.

“Pursuant to authority conferred by Section 7.9 of the Charter, there is hereby adopted by the City, for the purpose of regulating the construction, installation and use of solar energy systems within the City, that certain code know as the Uniform Solar Energy Code, 1997 Edition, published by the International Association of Plumbing and Mechanical Officials, 5032 Alhambra Avenue, Los Angeles, California 90032.  The Code, and the whole thereof, is adopted by reference thereto the same as if set forth in length in this section”.

Section 5-11 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety.

Section 5-12 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this Ordinance, Sec. 5-12 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec. 5-12. National Electrical Code Adoption.

“Pursuant to authority conferred by Section 7.9 of the Charter, there is hereby adopted by the City, for the purpose of regulating the installation and use of electric conductors and equipment within the City, that certain code know as the National Electric Code, 1999 Edition, published by the National Fire Protection Association, Batterymarch Park, Quincy, Massachusetts  02269.  The Code, and the whole thereof, is adopted by reference thereto the same as if set forth in length in this section”.

Section 5-13 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this Ordinance, Sec. 5-13 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec.  5-13. National Electrical Code Amendments and Deletions.

The National Electrical Code, 1999 Edition, is subject to the following amendments and deletions:

Article 90-4,  entitled “Enforcement” is re-titled and amended to read as follows:

Administration and Enforcement.  Administration and enforcement of this code shall be governed by the provisions of the Uniform Administrative Code as adopted.

Section 5-18 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this Ordinance, Sec. 5-18 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec. 5-18. Uniform Mechanical Code Adoption.

“Pursuant to authority conferred by Section 7.9 of the Charter, there is hereby adopted by the City, for the purpose of regulating and controlling the design, construction, installation, quality of materials, erection, installation, alteration, repair, location, relocation, replacement, addition to, use or maintenance of heating, ventilating, cooling, refrigeration systems, incinerators and other miscellaneous heat-producing appliances in the City, that certain code know as the Uniform Mechanical Code, 1997 Edition, including Appendix Chapters A, B, and C; published by the International Conference of Building Officials, 5360 South Workman Mill Road, Whittier, California 90601.  The Code, and the whole thereof, is adopted by reference thereto the same as if set forth in length in this section.”

Section 5-19 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this Ordinance, Sec. 5-19 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec. 5-19. Uniform Mechanical Code Amendments and Deletions

The Uniform Mechanical Code, 1997 Edition, is subject to the following amendments and deletions:

Section 103.0.  The second paragraph is amended to read as follows:

Additions, alterations, repairs and replacement of equipment or systems shall comply with the provisions for new equipment and systems except as otherwise provided in The Uniform Administrative Code as adopted.

Section 104, entitled “Application to Existing Mechanical Systems” is re-titled and amended to read as follows:

Administration and enforcement of this code shall be as governed by the provisions of The Uniform Administrative Code as adopted.

Sections 105 - 117 - delete

Section 304.6, second paragraph is amended to read as follows:

Liquefied petroleum gas-burning appliances shall not be installed in a pit, basement or similar location where heavier-than-air gas might collect, unless the following conditions are met:

1.	There shall be installed a listed gas detector that is interlocked to a listed solenoid valve located so as to shut off the supply of gas to the building in the event of an alarm.

2.	There shall be installed an exhaust system for the purpose of removing unburned gases. The exhaust system shall be interlocked to the gas detector so as to operate automatically in the event of an alarm. The exhaust system shall provide a minimum of four (4) air changes per hour, and the exhaust intake shall be located within 6 inches of the floor.

Section 5-20 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this Ordinance, Sec. 5-20 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec. 5-20. Uniform Plumbing Code Adoption.

“Pursuant to authority conferred by Section 7.9 of the Charter, there is hereby adopted by the City, for the purpose of regulating and controlling design, construction, installation, quality of materials, erection, installation, alteration, repair, location, relocation, replacement, addition to, use or maintenance of any plumbing system within the City, that certain code known as the Uniform Plumbing Code, 1994 Edition, including Appendix Chapters A, B, C, D, E, F, G, H, I, and J, including the IAPMO Installation Standards published by the International Association of Plumbing and Mechanical Officials, 5032 Alhambra Avenue, Los Angles, California 90032. The Code, the whole thereof, is adopted by reference thereto the same as if set forth in length in this section”.

Section 5-21 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this Ordinance, Sec. 5-21 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec. 5-21. Uniform Plumbing Code Amendments and Deletions.

The Uniform Plumbing Code, 1994 Edition, is subject to the following amendments and deletions:

Section 102.0, entitled “Organization and Enforcement” is re-titled and amended to read as follows:

“Administration and Enforcement”.  Administration and enforcement of this code shall be governed by the provisions of The Uniform Administrative Code as adopted.

Sections 102.1 - 103.8 - delete

Table 1-1 - delete

Section 603.2.2, is amended to read as follows:

The premises owner or responsible person shall have the backflow prevention assembly tested by a certified backflow tester at the time of installation, repair, or relocation.

Section 603.3.4, is amended to read as follows:

Heat Exchangers and other assemblies or methods of construction using potable water shall be of listed construction and materials.  The sections in contact with potable water shall be of material and weights suitable for potable water as set forth in this chapter.

Section 605.3, is amended to read as follows:

A fullway valve controlling all outlets shall be installed on the discharge side of each water meter and on each unmetered water supply.  Water piping supplying more than one building on any one premises shall be equipped with a separate fullway valve to each building so arranged that the water supply can be turned on or off to any individual or separate building provided; however, that supply piping to a single-family residence and buildings accessory thereto, may be controlled on one valve.  Such shutoff valves shall be readily accessible at all times and so located as to be capable of being reached quickly and conveniently for operation without requiring crawling or resorting to ladders.  A fullway valve shall be installed on the cold water supply pipe to each water heater at or near the water heater.  A fullway valve shall be installed for each apartment or dwelling of more than one (1) family.  Individual shutoff valves shall be provided at each fixture.

Section 708.0, is amended to read as follows:

Horizontal drainage piping shall be run in practical alignment. Pipe up to and including three (3) inch (76.2 mm) shall have a uniform slope of not less than one-forth (1/4) of an inch per foot (20.9 mm/m).  Pipe four (4) inches (101.6 mm) and larger shall have a uniform slope of not less than one-eighth (1/8) inch per foot (10.4 mm/m)

Section 807.4, is amended to read as follows:

No domestic dishwashing machine shall be directly connected to a drainage system or food waste disposer without the use of an approved dishwasher airgap fitting on the discharge side of the dishwashing machine.  Listed airgaps shall be installed with the flood level (FL) marking at or above the flood level of the sink or drainboard, whichever is higher, or separately trapped with the air gap located on the stand pipe.

Section 908.0, entitled “Vertical Wet Venting” is re-titled to read as follows:

Vertical and Horizontal Wet Venting

Section 908.1, is amended to read as follows:

Wet venting is limited to vertical and horizontal drainage piping receiving the discharge from the trap arm of one (1) and two (2) fixture unit fixtures that also serves as a vent for not to exceed four (4) fixtures.  All wet vented fixtures shall be within the same story; provided, further, that fixtures with a continuous vent, discharging into a wet vent shall be within the same story as the wet vented fixtures.  No wet vent shall exceed 6 feet (1.8 m) in developed length.

Section 908.2, is amended to read as follows:

The vertical or horizontal piping between any two (2) consecutive inlet levels shall be considered a wet vented section.  Each wet vented section shall be a minimum of one (1) pipe size larger than the required minimum waste pipe size of the upper fixture or shall be one (1) pipe size larger than the required minimum pipe size for the sum of the fixture units served by such wet vented section, whichever is larger, but in no case less than two (2) inches (50.8mm).

Sec. 5-20. International Plumbing Code Adoption.

“Pursuant to authority conferred by Section 7.9 of the Charter, there is hereby adopted by the City, for the purpose of regulating and controlling design, construction, installation, quality of materials, erection, installation, alteration, repair, location, relocation, replacement, addition to, use or maintenance of any plumbing system within the City, that certain code known as the International Plumbing Code, 1997 Edition, published by the International Code Council, Inc., 5360 Workman Mill Road, Whittier, CA  90601-0541. The Code, the whole thereof, is adopted by reference thereto the same as if set forth in length in this section”.

Section 403, entitled “Minimum Plumbing Facilities” is deleted.

Section 5-22 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this ordinance, Sec. 5-22 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec. 5-22. Uniform Swimming Pool, Spa and Hot Tub Code Adoption.

“Pursuant to authority conferred by Section 7.9 of the Charter, there is hereby adopted by the City, for the purpose of regulating and controlling design, construction, installation, quality of materials, erection, installation, alteration, repair, location, relocation, replacement, addition to, use or maintenance of any swimming pool, spa or hot tub system, that certain code know as the Uniform Swimming Pool, Spa and Hot Tub Code, 1997 Edition, published by the International Association of Plumbing and Mechanical Officials, 5032 Alhambra Avenue, Los Angles, California 90032. The Code, and the whole thereof, is adopted by reference thereto the same as if set forth in length in this section”.

Section 5-23 of the Steamboat Springs Revised Municipal Code shall be repealed in its entirety. From and hereafter the effective date of this Ordinance, Sec. 5-23 of the Steamboat Springs Revised Municipal Code shall read as follows:

Sec. 5-23. Uniform Swimming Pool, Spa and Hot Tub Code Amendments and Deletions

The Uniform Swimming Pool, Spa and Hot Tub Code, 1997 Edition, is subject to the following amendments and deletions:

Section 102, entitled “Existing Installations” is re-titled and amended to read as follows:

“Administration and Enforcement”.  Administration and enforcement of this code shall be governed by the provisions of The Uniform Administrative Code as adopted.

Sections 103 - 117- delete

Section 202, the definition of “Swimming Pool-Private” is amended to read as follows:

Swimming Pool - Private─shall include all swimming pools in connection with a Group R, Division 3 Occupancy as defined by The Uniform Building Code and shall be available only to the families of the dwelling and their private guests.

Section 305.1, is amended to read as follows:

Water supply inlets to swimming pools, when protected by an approved backflow prevention device, shall have such device installed on the discharge side of the last valves with the critical level (CL) not less than six (6) inches above the overflow rim of such equipment.  Water supply inlets not protected by an approved backflow prevention device shall be installed not less than two (2) pipe diameters, but in no case less than one (1) inch above the overflow rim of such swimming pool.  No over the rim fill spout shall be installed unless it is located under a diving board or is otherwise properly guarded.

Section 509.1, is amended by the addition of an exception to read as follows:

Liquefied petroleum gas piping may serve a gas water heater or boiler located in a pit, basement or similar location when the following conditions are met:

1.	There shall be installed a listed gas detector that is interlocked to a listed solenoid valve located so as to shut off the supply of gas to the building in the event of an alarm.

2.	There shall be installed an exhaust system for the purpose of removing unburned gases. The exhaust system shall be interlocked to the gas detector so as to operate automatically in the event of an alarm. The exhaust system shall provide a minimum of four (4) air changes per hour, and the exhaust intake shall be located within 6 inches of the floor.

Section 5-24 of the Steamboat Springs Revised Municipal Code shall be amended to read as follows:

Section 5-24.  Penalties.

- Any person who violates any of the provisions of the Steamboat Springs Revised Municipal Code or any Standard as provided in this Chapter 5 or fails to comply therewith, or who violates or fails to comply with any order made thereunder, or who builds in violation of any detailed statement of specifications or plans submitted and approved thereunder, or any certificate or permit issued thereunder, and from which no appeal has been taken, or who fails to comply with such an order affirmed or modified by the City or by a court of competent jurisdiction, within the time fixed herein, shall severally for each and every such violation and noncompliance, respectively, be guilty of a misdemeanor, punishable as set forth in Section 1-15 of the Municipal Code of the City of Steamboat Springs.  The imposition of one penalty for any violation shall not excuse the violation or permit it to continue; and when not otherwise specified, each day that prohibited conditions are maintained shall constitute a separate offense.

- The application of the above penalty shall not be held to prevent the enforced removal of prohibited conditions.

All ordinances heretofore passed and adopted by the City Council of the City of Steamboat Springs, Colorado, are hereby repealed to the extent that said ordinances, or parts thereof, are in conflict herewith.

The City Council hereby finds, determines and declares that this Ordinance is necessary for the immediate preservation of the public peace, health and safety.

If any section, subsection, clause, phrase or provision of this Ordinance, or the application thereof to any person or circumstance, shall to any extent, be held by a court of competent jurisdiction to be invalid, void or unconstitutional, the remaining sections, subsections, clauses, phrases and provisions of this Ordinance, or the application thereof to any person or circumstance, shall remain in full force and shall in no way be affected, impaired or invalidated.

This Ordinance shall take effect immediately upon the expiration of five (5) days from and after its publication following final passage, as provided in Section 7.6(h) of the Steamboat Springs Home Rule Charter.

INTRODUCTED, READ AND ORDERED PUBLISHED, as provided by law, by the City Council of the City of Steamboat Springs at it’s regular meeting held on the ________day of __________________________, 2000.

__________________________________

KEVIN BENNETT, President

Steamboat Springs City Council

ATTEST:

__________________________________

Julie Jordan-Struble, City Clerk

FINALLY READ, PASSED AND APPROVED this _________ day of

_________________________, 2000.

__________________________________

KEVIN BENNETT, President

Steamboat Springs City Council

ATTEST:

__________________________________

Julie Jordan-Struble, City Clerk